| Product CP-M115/M230 Low Profile, Mini-Split Pump CP-M115, CP-M230 Features - Compact Size - Flexible installation options. Fits inside line set covers or inside cassette - Clear Reservoir - Dual Outlet Reservoir - Reservoir Mounting Plate - Up to 6’ Suction Lift - 24’ Total Lift - For systems up to 2.8 tons (34,000 BTUs – 10kW) - Quiet. < 21dB(A) - Thermally Protected - Built-In Overflow Switch – SPDT Alarm Circuit - 2 Year Warranty - ETL Listed - Water Resistant Sensor Cable Specifications Voltage; 110 – 120VAC or 220 – 240VAC. Hz; 50/60Hz. Watts; 19W. IP; IP64. Duty Cycle Rating; 70%. Sound; <21 dB(A) at 3.3’. Overflow Switch; 5A @ 250VAC Resistive. Working Temperature; 41ºF to 113ºF (5ºC to 45ºC). Storage Temperature; 37ºF to 158ºF (3ºC to 70ºC). ETL; 4000786 (Conforms to UL STD 778). CSA; C22.2 NO. 108. UPC CP-M230; 0095247152759. CSA; 0095247152742. |  |  |
| --- | --- | --- |