P/N: VSC58-20M

# 5.8 mm cam with 20 m fiberglass-reinforced probe—QVGA via macro short focus

High-res image, RGB color space, 1000 px wide

| Part No. | VSC58-20M |
| --- | --- |
| General information |  |
| Short description | 5.8 mm cam with 20 m fiberglass-reinforced probe—QVGA via macro short focus |
| Compatible main unit | VS70 |
| Integrated handset | No |
| Wireless capabilities | N/A |
| Compatible wireless handset | With optional VST |
| Compatible detachable cameras | N/A |
| Warranty | https://www.flir.com/testwarranty |

| Camera specifications |  |
| --- | --- |
| Articulation | No |
| Diameter | 5.8 mm |
| Front camera focal length | 20–60 mm |
| Front camera field of view | 56° |
| Front camera resolution | QVGA (320 × 240) pixels |
| Probe length | 20 m |
| Video format | NTSC |
| Brightness control | Manual with variable options |
| Lamp type | LED |
| Power system |  |
| Power requirements | N/A |

| Environmental data |  |
| --- | --- |
| Operating temperature | –10 to 50°C (14–122°F) |
| Operating humidity | 80% maximum |
| Storage temperature | –40 to 80°C (–40 to 176°F) |
| Physical data |  |
| Weight | See shipping information |
| Dimensions (H × W × L) | See shipping information |
| Material | PC-ABS, rubber hand grip, nylon strap |
| Color | Gray, black |

| Shipping information |  |
| --- | --- |
| Packaging type | Brown shipping box |
| Packaging contents | Brown shipping box, hardcase, camera, camera attachments: mirror, anti-snag tip, magnet |
| Packaging weight | 4 kg |
| Packaging dimensions (H × W × L) | 45 cm × 37 cm × 17 cm |
| Carton weight | 9 kg |
| Carton dimensions (H × W × L) | 39 cm × 36 cm × 47 cm |
| Carton quantity | 2 |
| EAN-13 | 0793950406007 |
| UPC-12 | 793950406007 |
| Country of origin | TW |
| Tariff code | 9013909000 |
| Technical support |  |
| Website | http://support.flir.com |