P/N: 19252-100

# FLIR IRW-4C: 4in Round Infrared Inspection Window (Aluminum)

High-res image, RGB color space, 1000 px wide

| General description |  |
| --- | --- |
| This device is a viewport which consist of a crystal "glass" window, mounted in an aluminum frame. The glass is specially formulated to allow transmission of infrared light to allow use of infrared thermal sensing equipment without opening the enclosure. This device is intended for installation in doors or walls of electrical enclosures without compromising the integrity of the enclosure. |  |
| Power system |  |
| Voltage | Any range |

| Environmental data |  |
| --- | --- |
| Environment | Indoor/outdoor type 4/12 |
| Operating temperature range | Maximum: 260°C (500°F) |
| Storage temperature range | Optics, maximum: 1357°C (2474°F) |
| Physical data |  |
| Size (L × W × H) | 29.3 × 127 × 137 mm (1.15 × 5.01 × 5.37 in.) |
| Viewing aperture diameter | 89 mm (3.50 in.) |
| Material | Optics: CaF2 (Calcium Fluoride Crystal) Body: Anodized aluminum Hardware: steel |
| Comments to physical data | Required hole diameter, nominal: 114.3 mm (4.5 in.) Greenlee Punch: 742BB Maximum pullout strength: 1678 kg (3700 lb.) |

| Lens |  |
| --- | --- |
| Waveband | Broadband IR: short-, mid-, and longwave |
| Visible light spectrum | Yes |
| Certifications |  |
| Certification | UL, IP67, NEMA Type 4/12, CSA |

| Shipping information |  |
| --- | --- |
| Packaging, type | Cardboard box |
| List of contents | - IR window - Case - Mounting instruction - Additional safety screw |
| Packaging, weight | 0.46 kg (1.01 lb.) |
| Packaging, size | 165 × 175 × 40 mm (6.50 × 6.89 × 1.58 in.) |
| EAN-13 | 4743254000742 |
| UPC-12 | 845188002831 |
| Country of origin | Estonia |